File completed form with CFMRI

| 3.0 T MRI OPERATOR CHECKLIST | UCSD Center for fMRI, 9500 Gilman Drive, |
| --- | --- |
|  | La Jolla, CA 92093-0677 |
|  | Tel: (858) 822-0513 Fax:(858) 822-0608 |
| This form to be used for: | Last minute checks by MRI scanner operator immediately before subject enters the scan room |
| Instructions for completing this form, and duplicate forms available from http://cfmri.ucsd.edu/forms.html |

Principal investigator / Lab 	 	Subject Number 	Weight

IRB protocol #	 			 Date of MRI study 	/	/		Time of MRI study

Operator

Certify that there are no absolute contraindications to MRI…….

| 1. | ( Yes ( No | Do you have a heart pacemaker? |
| --- | --- | --- |
| 2. | ( Yes ( No | Is there a possibility of metal in your head? (e.g. aneurysm clips, do not include dental work) |
| 3. | ( Yes ( No | Is there a possibility of metal in your eyes or have you ever needed an eyewash having worked with metals? |
| 4. | ( Yes ( No | Do you have an implanted medical device? (cochlear implant, metal ear tubes, tens unit, bone stimulator, insulin or other medication pump, automatic defibrillator, internal pacing wires). |
| 5. | ( Yes ( No | Have you had any metallic dental implants (posts, crowns) within the last 6 weeks? |
| 6. | ( Yes ( No | Have you had any bone, tendon, spine or joint surgery within the last 6 weeks? |
| 7. | ( Yes ( No | [Research subjects only:] Do you weigh more than 300 lbs (135 kg)? |

*** If any of the above are checked “yes, the subject CAN NOT enter the scanner ***

Last-minute checks…….

| ( Yes ( No | All pockets are empty | ( Yes ( No | Credit cards |
| --- | --- | --- | --- |
| ( Yes ( No | Keys / coins | ( Yes ( No | Pens |
| ( Yes ( No | Use Restroom | ( Yes ( No | Belt |
| ( Yes ( No | Hair pins / barrettes | ( Yes ( No | Metal Buttons |
| ( Yes ( No | Watch / Jewelry | ( Yes ( No | Clothing with metal (underwire bra) |
| ( Yes ( No | Safety pins | ( Yes ( No | Shoes with metal shank / toecap |
| ( Yes ( No | Paper clips | ( Yes ( No | Hearing aid |
| ( Yes ( No | Glasses | ( Yes ( No | Removable dentures |
| ( Yes ( No | Piercings | ( Yes ( No | Nicotine or other patch |
| ( Yes ( No | Wigs | ( Yes ( No | Implant held in place by a magnet |

Use the metal detector

Ear plugs in place and working